## Performance (hidden)
TP# | Module | PQ# | Test Case | Response Time (100% page load) (seconds) (For cases >100000) | Expected Result (For cases <1000) | RESPONDING TIME (SEC.) (For cases <1000)
V5.login.landing.1 | Histotech | V5.login.landing PQ-000025 | Measure time it takes to load landing page with first specimen on case list having 3 slides |  | From Log into landing page and loading of first specimen on the case list (with three slides), should be <3-5 sec
V5.display.specimen.1 | Histotech | V5.display.specimen PQ-000025 | To verify Case list to specimen view performance |  | From double clicking on a specimen on the case list to displaying the specimen view (no gross/radiology images), should be <3-5 sec
V5.open.image.1 | Histotech | V5.open.image PQ-000025 | To verify Opening image in Virtuoso Viewer |  | From double clicking on a slide thumbnail (while in Specimen View) to displaying the image in the Virtuoso Viewer (Enhanced and Thin Client), thumbnail, one FOV (first time), 5-7 sec
V5.open.image.2 | Histotech | V5.open.image PQ-000025 | To verify Opening image in Virtuoso Viewer with 8 FOV on which analysis is NOT performed |  | From double clicking on a slide thumbnail (while in Specimen View) to displaying the image in the Virtuoso Viewer (Enhanced and Thin Client), thumbnail, one FOV (first time), 5-7 sec
V5.open.image.3 | Histotech | V5.open.image PQ-000025 | To verify Opening image in Virtuoso Viewer with 8 FOV on which analysis is performed |  | From double clicking on a slide thumbnail (while in Specimen View) to displaying the image in the Virtuoso Viewer (Enhanced and Thin Client), thumbnail, one FOV (first time), 5-7 sec
V5.open.cached.1 | Histotech | V5.open.cached PQ-000025 | To verify Opening cached image in Virtuoso Viewer |  | From double clicking on a slide thumbnail (while in Specimen View) to displaying the Virtuoso Viewer (Enhanced and Thin Client), thumbnail, one FOV (first time) for already cached image, 3-5 sec
V5.login.path.1 | Pathologist | V5.login.path PQ-000025 | To verify Log into landing page performance |  | From Log into landing page and loading of first specimen on the case list (with three slides), should be 3-5 sec
V5.case.path.1 | Pathologist | V5.case.path PQ-000025 | To verify Case list page loading performance |  | View selected case, 1-3 sec
V5.image.path.1 | Pathologist | V5.image.path PQ-000025 | To verify Go to image from Case List performance |  | View image from Case List by clicking on thumbnail, should be 5-7 sec
V5.specimen.path.1 | Pathologist | V5.specimen.path PQ-000025 | To verify Go to image from Specimen View performance |  | View image from Specimen View, 5-7 sec
V5.20xanalysis.path.1 | Pathologist | V5.20xanalysis.path PQ-000025 | To verify FOV analysis performance at 20x |  | Analyze Freehand FOV at 20X (FOV 1/2 size of the slide's viewable area), should be 6-8 sec
V5.report.path.1 | Pathologist | V5.report.path PQ-000025 | To verify Generating report performance |  | Generate report, should be 5-7 sec
SLIS.performance.showslides.1 | SLIS | SLIS.performance.showslides PQ-000025 | To verify the performance of opening and displaying the Associate Slide Images window with 20 slide images |  | From clicking on the associate slide image window to displaying the selected associated slide images (max 2 secs)
multi.performance.1 | Histotech | multi.performance PQ-000025 | Compare performance when opening image in Virtuoso viewer with multi server environment vs Single server (physical servers). |  | Ability to deploy modules in distributed environment and performance should be equivalent or better compared to single server environment.
multi.performance.2 | Pathologist | multi.performance PQ-000025 | Compare performance when opening image in Virtuoso viewer with multi server environment vs Single server (physical servers). |  | Ability to deploy modules in distributed environment and performance should be equivalent or better compared to single server environment.
VM.deployment.1 | Histotech |  | Compare the performance effect on Log into landing page by deploying Virtuoso on physical machine Vs virtual machine. |  | Virtuoso should maintain equivalent or better performance when compared to its performance running on a physical machine
VM.deployment.2 | Histotech |  | Compare the performance effect on case list page loading by deploying Virtuoso on physical machine Vs virtual machine. |  | Virtuoso should maintain equivalent or better performance when compared to its performance running on a physical machine
VM.deployment.3 | Histotech |  | Compare the performance effect on case list to load specimen view by deploying Virtuoso on physical machine Vs virtual machine. |  | Virtuoso should maintain equivalent or better performance when compared to its performance running on a physical machine
VM.deployment.4 | Pathologist |  | Compare the performance effect on FOV analysis for BIF image at 10x by deploying Virtuoso on physical machine Vs virtual machine. |  | Virtuoso should maintain equivalent or better performance when compared to its performance running on a physical machine
VM.deployment.5 | Pathologist |  | Compare the performance effect on FOV analysis for BIF image at 20x by deploying Virtuoso on physical machine Vs virtual machine. |  | Virtuoso should maintain equivalent or better performance when compared to its performance running on a physical machine
VM.deployment.6 | Pathologist |  | Compare the performance effect on Generating report for BIF image by deploying Virtuoso on physical machine Vs virtual machine. |  | Virtuoso should maintain equivalent or better performance when compared to its performance running on a physical machine
VM.deployment.7 | Pathologist |  | repeat following steps for TIFF and JP2 images. VM.deployment.4 VM.deployment.5 VM.deployment.6 |  | Virtuoso should maintain equivalent or better performance when compared to its performance running on a physical machine
VM.deployment.8 | Histotech |  | Compare performance when opening image in Virtuoso viewer with multi VM environment vs Single VM. |  | Ability to deploy modules in distributed environment and performance should be equivalent or better compared to single server environment.
VM.deployment.9 | Pathologist |  | Compare performance when opening image in Virtuoso viewer with multi VM environment vs Single VM. |  | Ability to deploy modules in distributed environment and performance should be equivalent or better compared to single server environment.
Loading.improvements.1 | SLIS |  | Measure the time taken to display (from scan completion to import IMS and Display on SLIS) scanned slide on SLIS slide association view and compare performance between v5.3 and v5.4 |  | Virtuoso should maintain equivalent or better performance compared to v5.3
Loading.improvements.2 | Histotech |  | Measure the time taken to load case list page ('All Specimens') and compare performance Virtuoso 5.3 Vs Virtuoso 5.4 |  | Virtuoso should maintain equivalent or better performance compared to v5.3
Loading.improvements.3 | Histotech |  | Measure the time taken to load Next> case list page and compare performance Virtuoso 5.3 Vs Virtuoso 5.4 |  | Virtuoso should maintain equivalent or better performance compared to v5.3
Loading.improvements.4 | Histotech |  | 1.Enter page number and click next. 2.Measure the time taken to load given case list page and compare performance Virtuoso 5.3 Vs Virtuoso 5.4 |  | Virtuoso should maintain equivalent or better performance compared to v5.3
Loading.improvements.5 | Histotech |  | 1.Select a record from case list view. 2.Measure the time taken to load all UI objects in case specimen detail on right hand side of the case list screen and compare performance Virtuoso 5.3 Vs Virtuoso 5.4 |  | Virtuoso should maintain equivalent or better performance compared to v5.3
Loading.improvements.6 | Histotech |  | 1.Click on 'View Specimen' button 2.Measure the time taken to load all UI objects in specimen list view and compare performance Virtuoso 5.3 Vs Virtuoso 5.4 |  | Virtuoso should maintain equivalent or better performance compared to v5.3
Loading.improvements.7 | Histotech |  | 1.Double click on a specimen displayed on 'Specimen List' view. 2.Measure the time taken to load all UI objects in specimen view and compare performance Virtuoso 5.3 Vs Virtuoso 5.4 |  | Virtuoso should maintain equivalent or better performance compared to v5.3
Loading.improvements.8 | Pathology |  | 1.Click on 'View Specimen' button 2.Measure the time taken to load all UI objects in specimen list view and compare performance Virtuoso 5.3 Vs Virtuoso 5.4 |  | Virtuoso should maintain equivalent or better performance compared to v5.3
Loading.improvements.9 | Pathology |  | 1.Double click on a specimen displayed on 'Specimen List' view. 2.Measure the time taken to load all UI objects in specimen view and compare performance Virtuoso 5.3 Vs Virtuoso 5.4 |  | Virtuoso should maintain equivalent or better performance compared to v5.3
Loading.improvements.10 | Pathologist |  | 1.Draw a rectangle FOV on speciman. 2.Perform Analysis 3.Measure the time taken to load all analysis information and compare performance Virtuoso 5.3 Vs Virtuoso 5.4 |  | Virtuoso 5.4 should show performance gain of 20% in the load time of analysis view compare to v5.3
Loading.improvements.11 | Pathologist |  | Repeat following steps for TIFF and JP2 images. Loading.improvements.9 Loading.improvements.10 |  | Virtuoso 5.4 should show performance gain of 20% in the load time of analysis view compare to v5.3
Volume.scalability | Virtuoso (Histotech/Pathologist) |  | Compare the performance when volume of data stored and used in the system becomes high (>10,000 cases) and volume of cases are lower (<1000 case). |  | The system should continue to maintain performance levels equivalent to or no worse than 20% of levels measured when the volume of cases were lower (<1000 case).

## Test Environments
TEST DATA: 1) Scan volume of 3000 slides /day or 1000 cases/day 2) Annual volume - 250000 cases, or 750000 slides 3) Cases are active for 2 weeks (no image) - 30,000 slides (@ 3000 slides/day) 4) Case active for 1 week (not signed out but with images) - 15,000 (@3000*5 days*1) 5) 49 weeks cases with images signed out with 3 slides per case - 750000 slides (@250000*3*1)
Note: Please add test environment details as listed in the example table below.
Test Environment configuration | Dell server
Server Configuration and Model | Power Edge R710
Server Processor | Dual Quad Core E5530 @ 2.39 GHz
Server Memory | 16 GB RAM
Server Operating System | Windows Server 2008 R2 Standard SP1, 64-bit
Server Hard Drive | C:140GB, E:1.3 TB
Viewer Type | User preference set to Thin Client (GWT/Standard)
Image magnification | 20x
Image File Type | BIF
Approximate Image File Size | 60MB-250 MB
Approximate size of each FOV | 15000U2
Scanner Type
Client PC Memory | 4 GB
Client PC Operating System | Windows 7 Enterprise 64-bit
Client Monitor, Model and Resolution | Dell E2209W 24", 1920x1200
Client & Server network configuration | 1Gbps LAN
Number of Oracle Processes in Virtuoso DB | 500
Java Arguments in JavaServiceWrapper properties file
JavaServiceWrapper properties file in Analysis Folder | JavaArgs= -Xms1024M -Xmx2048M -XX:+UseParallelGC -XX:ParallelGCThreads=2 -XX:MaxPermSize=256M -Dbinaryimage.max.waittime=60000
JavaServiceWrapper properties file in Image Management Service Folder | JavaArgs= -server -Xms1536M -Xmx2048M -XX:+UseParallelGC -XX:ParallelGCThreads=2 -XX:PermSize=256M -XX:MaxPermSize=256M
JavaServiceWrapper properties file Virtuoso | set "JAVA_OPTS=-Xms2048M -Xmx4096M -XX:+UseParallelGC -XX:ParallelGCThreads=4 -XX:MaxPermSize=256M" set "JAVA_OPTS=%JAVA_OPTS% -Dsun.rmi.dgc.client.gcInterval=3600000 -Dsun.rmi.dgc.server.gcInterval=3600000 -Djava.net.preferIPv4Stack=true"

## Result
Performance Test-Dell Server
Browser: < Please enter the browser version>
Test ID | Test Case | Run-1 | Run-2 | Run-3 | Run-4 | Run-5 | Average
Virtuoso Histotechnician
MB_Histotechnician_Accept_Slide | Measure time taken to accept slide. | 0.596 | 0.556 |  |  |  | 0.576
MB_Histotechnician_CachedImage | Measure the time taken to display the image with one fov in Virtuoso Viewer for the image which is already cached in the browser (Enhanced and Thin Client) when histotechnician double clicks on a slide thumbnail from Specimen View | [5 empty] | #DIV/0!
MB_Histotechnician_FilterList | Measure time taken to display the first case with 3 slides when one of the filter is applied. | 5.602 | 3.165 | 2.915 |  |  | 3.894
MB_Histotechnician_FirstTimeImage | Measure time taken to display the image with one fov in Virtuoso Viewer for the first time i.e. image is not cached (Enhanced and Thin Client) when histotechnician double clicks on a slide thumbnail from Specimen View | [5 empty] | #DIV/0!
MB_Histotechnician_LandingPage | Measure time taken to load landing page with specimen list view after user clicks on Login button on the login screen. | 5.443 | 6.292 | 6.325 |  |  | 6.02
MB_Histotechnician_LoadSpecimenView | Measure time taken to load specimen view by double clicking on a specimen under specified LOAD | [5 empty] | #DIV/0!
MB_Histotechnician_NextSpecimen | Measure time taken to display the selected specimen and slides when histotechnician clicks on the next specimen on the list (while in Specimen View) | [5 empty] | #DIV/0!
MB_Histotechnician_Rearrange_Specimens_Slide | Measure time taken for rearranging the order of the specimens on the case list or the thumbnails on the list of slides. | [5 empty] | #DIV/0!
MB_Histotechnician_Reject_Slide | Measure time taken to reject the slide under specified LOAD. | 1.996 | 1.216 | 0.995 |  |  | 1.4023
MB_Histotechnician_Release_Specimen | Measure time taken to release the specimen under specified LOAD. | 3.793 | 4.021 | 3.882 |  |  | 3.8987
MB_Histotechnician_SpecimenListLoading | Measure time taken to load complete specimen data and image thumbnail on the right panel. | 0 | 0 | 0 |  |  | 0
MB_Histotechnician_Navigation_Slides | Measure time taken to open a slide by clicking on navigation arrow button [Next} on the top of image in the opened Virtuoso Viewer to open next case image (case with 5 slides and all slides do not have FOV | [5 empty] | #DIV/0!
MB_Histotechnician_Search_Cases_LessThan100 | Measure time taken to view search results once user enters a search criteria and hits enter | 4.399 | 2.571 | 3.335 |  |  | 3.435
MB_Histotechnician_Search_Cases_GreaterThan100 | Measure time taken to view search results once user enters a search criteria and hits enter(when results greater than 100 cases) | 5.289 | 4.289 | 4.275
Virtuoso Pathologist
MB_Pathologist_AnalyzeSlide_20X | Time taken to analyze one FOV (1/3 size of the slide viewable area) at 20X when single image is loaded | 6.917 | 44.191 |  |  |  | 25.554
MB_Pathologist_CaseDetail | Measure time taken to load complete case data and image thumbnail on the right panel when pathologist selects a case from the case list. | 0 | 0 | 0 |  |  | 0
MB_Pathologist_FirstTimeImage | Measure time taken to display the image with one fov in Virtuoso Viewer for the first time i.e. image is not cached (Enhanced and Thin Client) when pathologist double clicks on a slide thumbnail from Case List | [5 empty] | #DIV/0!
MB_Pathologist_FOV_Analysis_at_10X | Measure time taken to analyze FOV at 10X, with FOV size of 1/3 of the image view area at resolution = 1680 x 1050 | 3.519 | 182.779 |  |  |  | 93.149
MB_Pathologist_Freehand_FOV_Analysis_at_20X | Measure time taken to analyze FOV at 20X, with FOV size of 1/2 of the image view area at resolution = 1680 x 1050 | [5 empty] | #DIV/0!
MB_Pathologist_Generate_Report | Measure time taken to generate the report. | 4.663 | 2.519 | 2.901 |  |  | 3.361
MB_Pathologist_ImageImport | Measure time taken for IMS image import completed until thumbnail shows up | [5 empty] | #DIV/0!
MB_Pathologist_LandingPage | Measure Time taken to load landing page with case list view | 6.622 | 6.664 | 7.365 |  |  | 6.8837
MB_Pathologist_LoadAnalysisView | Measure time taken to load analysis view by double clicking on slide in the case list view or specimen view under specified LOAD. | [5 empty] | #DIV/0!
MB_Pathologist_Navigation_Slides | Measure Time taken to open a slide by clicking on navigation arrow button [Next} on the top of image in the opened Virtuoso Viewer to open next case image (case with 5 slides and all slides do not have FOV) | [5 empty] | #DIV/0!
MB_Pathologist_Re_analyze_FOV_With_Exclusion | Measure time taken to re-analyze FOV when a freehand exclusion FOV is drawn inside the analyzed FOV | [5 empty] | #DIV/0!
MB_Pathologist_Search_Cases_GreaterThan100 | Measure time taken to view search results once user enters a search criteria and hits enter | 5.461 | 4.034 | 4.674 |  |  | 4.723
MB_Pathologist_Search_Cases_LessThan100 | Measure time taken to view search results once user enters a search criteria and hits enter | 2.612 | 2.637 | 3.001 |  |  | 2.75
MB_Pathologist_Signout | Measure time taken to generate report, from clicking on 'Sign-out' button to change the specimen status 'Signed-out' | [5 empty] | #DIV/0!
MB_Pathologist_SpecimenView_FirstTimeImage | Measure time taken to display the image with one fov in Virtuoso Viewer for the first time i.e. image is not cached (Enhanced and Thin Client) when pathologist double clicks on a slide thumbnail from Specimen View | 0 | 0 | 0 |  |  | 0
MB_Pathologist_Reject_Slide | Measure time taken to reject the slide under specified LOAD. | [5 empty] | #DIV/0!

## V57
Performance Test-Dell Server
Browser: < Please enter the browser version>
Test ID | Test Case | Run-1 | Run-2 | Run-3 | Run-4 | Run-5 | Average
Virtuoso Histotechnician
V57_5870_WIA_LungTime | [6 empty] | #DIV/0!
V57_5871_WIA_BladderTime | [6 empty] | #DIV/0!
V57_5872_SingleFOV_LungTime | [6 empty] | #DIV/0!
V57_5873_SingleFOV_BladderTime | [6 empty] | #DIV/0!
V57_5881_VerifyMultipleFOV_Bladder | [6 empty] | #DIV/0!
V57_5881_VerifyMultipleFOV_Lung | [6 empty] | #DIV/0!
V57_5898_Histotechnician_LoadSpecimenView | [6 empty] | #DIV/0!
V57_5898_Pathologist_LoadSpecimenView | [6 empty] | #DIV/0!
V57_5899_Pathologist_Navigation_PDL1_Slides | [6 empty] | #DIV/0!
V57_5911_Pathologist_signout_for_PDL1_Slide_Bladder | [6 empty] | #DIV/0!
V57_5911_Pathologist_signout_for_PDL1_Slide_Lung | [6 empty] | #DIV/0!
#DIV/0!
#DIV/0!
Virtuoso Pathologist
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!